Perfect. I checked your uploaded Measurements.pdf, and it aligns very well with the APTRANSCO Measurements syllabus. It contains chapters on Error Analysis, Bridges, Potentiometers, Electrical Measuring Instruments, Measurement of Power, Energy, Power Factor, Frequency, Q-meter, CRO, Digital Instruments, etc., matching the prescribed syllabus.

Following our previous pattern, here is the exam-oriented micro-syllabus.

# APTRANSCO AEE (Electrical)

# Subject – Measurements

## PART I – Errors, Bridges & Potentiometers

(APTRANSCO Syllabus: Bridges and Potentiometers)

# Chapter 1 – Measurement Fundamentals

## 1.1 Electrical Measurements

- Measurement

- Accuracy

- Precision

- Sensitivity

- Resolution

- Linearity

- Repeatability

- Reproducibility

- Threshold

- Dead Zone

- Deflection Factor

- Scale Factor

## 1.2 Errors

### Gross Errors

- Causes

- Reduction

### Systematic Errors

- Instrumental Errors

- Environmental Errors

- Observational Errors

### Random Errors

- Causes

- Statistical Nature

## 1.3 Limiting Errors

- Absolute Error

- Relative Error

- Percentage Error

## 1.4 Error Propagation

- Addition

- Subtraction

- Multiplication

- Division

- Power Function

## 1.5 Statistical Analysis

- Arithmetic Mean

- Average Deviation

- Standard Deviation

- Variance

- Probable Error

# Chapter 2 – DC Bridges

## 2.1 Bridge Fundamentals

- Bridge Principle

- Null Balance

- Sensitivity

- Balance Condition

## 2.2 Wheatstone Bridge

- Construction

- Working

- Balance Equation

- Applications

- Advantages

- Limitations

## 2.3 Kelvin Double Bridge

- Need

- Construction

- Working

- Balance Equation

- Measurement of Low Resistance

- Advantages

## 2.4 Carey Foster Bridge

- Principle

- Construction

- Working

- Comparison of Nearly Equal Resistances

- Applications

# Chapter 3 – AC Bridges

## 3.1 Introduction

- Need for AC Bridges

- Comparison with DC Bridges

## 3.2 Maxwell's Bridge

- Principle

- Circuit

- Balance Equation

- Applications

## 3.3 Hay's Bridge

- Principle

- Applications

- High-Q Coil Measurement

## 3.4 Anderson Bridge

- Construction

- Working

- Applications

## 3.5 Owen Bridge

- Principle

- Balance Equation

- Applications

## 3.6 Heaviside–Campbell Bridge

- Principle

- Mutual Inductance Measurement

## 3.7 De Sauty Bridge

- Capacitance Comparison

- Applications

## 3.8 Schering Bridge

- Capacitance Measurement

- Dielectric Loss

- Dissipation Factor

## 3.9 Wien Bridge

- Frequency Measurement

- Applications

- Oscillator Applications

# Chapter 4 – Potentiometers

## 4.1 DC Potentiometer

- Principle

- Standardization

- Construction

- Working

## 4.2 Measurement using Potentiometer

- Unknown Voltage

- Comparison of EMFs

- Internal Resistance of Cell

- Calibration of Voltmeter

- Calibration of Ammeter

## 4.3 AC Potentiometer (Basic)

- Principle

- Applications

# PART I Coverage Summary

| Chapter | Approx. Micro Topics |
| --- | --- |
| Measurement Fundamentals | 34 |
| DC Bridges | 30 |
| AC Bridges | 60 |
| Potentiometers | 26 |

Total Micro-topics: ~150

# Review Before Freezing

## ★★★★★ Must Master

- Accuracy

- Precision

- Limiting Error

- Error Propagation

- Wheatstone Bridge

- Kelvin Double Bridge

- Carey Foster Bridge

- Maxwell Bridge

- Hay Bridge

- Anderson Bridge

- Owen Bridge

- Schering Bridge

- Wien Bridge

- DC Potentiometer

- Potentiometer Standardization

- Calibration of Instruments

## ★★★★☆ High Priority

- Statistical Errors

- Sensitivity of Bridges

- Heaviside–Campbell Bridge

- AC Potentiometer

- Dissipation Factor

- Q-factor Measurement Using Bridges

## ★★★☆☆ Basic Coverage

- Historical Development

- Detailed Derivations of Bridge Equations

- Advanced Bridge Error Analysis

# Overall Assessment

Rating: 10/10

This part is fully aligned with the APTRANSCO syllabus and your uploaded reference. The reference devotes significant coverage to error analysis, Wheatstone, Kelvin, Carey Foster, Maxwell, Hay, Anderson, Owen, Schering, Wien bridges, and DC potentiometers, along with solved examples and previous-year objective questions.

## Next Part (PART II)

The next part will cover the remaining APTRANSCO topics on measuring instruments:

- PMMC Instruments

- Moving Iron Instruments

- Electrodynamometer Instruments

- Induction Type Instruments

- Instrument Torques

- Errors, Advantages, Disadvantages

- Extension of Range (Shunts & Multipliers)

This corresponds to the Electrical Measuring Instruments chapter in your reference.

Perfect. Continuing in the exact APTRANSCO syllabus order.

# APTRANSCO AEE (Electrical)

# Subject – Measurements

# PART II – Electrical Measuring Instruments

(APTRANSCO Syllabus: PMMC, Moving Iron, Dynamometer and Induction type instruments)

Your uploaded reference contains a dedicated chapter on Electrical Measuring Instruments, covering instrument torques, PMMC, Moving Iron, Electrodynamometer, and Induction instruments with construction, principles, torque equations, characteristics, errors, advantages, disadvantages, and applications.

# Chapter 5 – Fundamentals of Measuring Instruments

## 5.1 Classification of Instruments

- Absolute Instruments

- Secondary Instruments

- Indicating Instruments

- Recording Instruments

- Integrating Instruments

## 5.2 Essential Torques

### Deflecting Torque (Td)

- Definition

- Requirements

- Sources

### Controlling Torque (Tc)

- Spring Control

- Gravity Control

- Characteristics

### Damping Torque

- Need for Damping

- Air Friction Damping

- Fluid Friction Damping

- Eddy Current Damping

## 5.3 Instrument Characteristics

- Scale

- Sensitivity

- Accuracy

- Precision

- Repeatability

- Resolution

# Chapter 6 – Permanent Magnet Moving Coil (PMMC) Instruments

## 6.1 Introduction

- PMMC Instrument

- Construction

- Components

## 6.2 Principle

- Force on Current Carrying Conductor

- Permanent Magnetic Field

## 6.3 Working

- Deflecting Torque

- Controlling Torque

- Uniform Scale

## 6.4 Torque Equation

- Deflecting Torque ∝ Current

- Scale Equation

## 6.5 Range Extension

### Ammeter

- Shunt Resistance

### Voltmeter

- Multiplier Resistance

## 6.6 Errors

- Weakening of Permanent Magnet

- Temperature Effects

- Friction

- Ageing

## 6.7 Advantages

- Uniform Scale

- High Accuracy

- Low Power Consumption

## 6.8 Disadvantages

- DC Only

- High Cost

- Delicate Construction

## 6.9 Applications

- Ammeter

- Voltmeter

- Galvanometer

# Chapter 7 – Moving Iron (MI) Instruments

## 7.1 Introduction

- Attraction Type

- Repulsion Type

## 7.2 Construction

- Fixed Coil

- Soft Iron Element

- Pointer

- Spring

## 7.3 Principle

- Magnetic Attraction

- Magnetic Repulsion

## 7.4 Working

- Deflecting Torque

- Square Law

## 7.5 Scale

- Non-Uniform Scale

## 7.6 Errors

- Hysteresis

- Frequency Error

- Temperature Error

- Stray Magnetic Field

## 7.7 Advantages

- AC & DC Operation

- Simple Construction

- Low Cost

## 7.8 Disadvantages

- Non-Uniform Scale

- Lower Accuracy

- Higher Power Consumption

## 7.9 Applications

- Ammeter

- Voltmeter

# Chapter 8 – Electrodynamometer Instruments

## 8.1 Introduction

- Fixed Coil

- Moving Coil

## 8.2 Principle

- Force Between Current Carrying Coils

## 8.3 Construction

- Fixed Coil

- Moving Coil

- Springs

- Air Friction Damping

## 8.4 Working

- Deflecting Torque

- Controlling Torque

## 8.5 Types

- Ammeter

- Voltmeter

- Wattmeter

## 8.6 Errors

- Frequency Error

- Temperature Error

- Stray Field

- Connection Errors

## 8.7 Advantages

- AC & DC

- High Accuracy

## 8.8 Disadvantages

- Low Torque/Weight Ratio

- Costly

- Sensitive to External Fields

# Chapter 9 – Induction Type Instruments

## 9.1 Introduction

- Principle

- AC Operation Only

## 9.2 Operating Principle

- Rotating Magnetic Field

- Eddy Current Production

## 9.3 Types

### Induction Wattmeter

- Construction

- Working

### Energy Meter

- Construction

- Working

## 9.4 Braking System

- Permanent Magnet Braking

## 9.5 Creeping

- Causes

- Prevention

## 9.6 Errors

- Friction

- Temperature

- Frequency

- Voltage Variation

## 9.7 Applications

- Energy Measurement

- Power Measurement

# PART II Coverage Summary

| Chapter | Approx. Micro Topics |
| --- | --- |
| Instrument Fundamentals | 24 |
| PMMC Instruments | 38 |
| Moving Iron Instruments | 34 |
| Electrodynamometer Instruments | 28 |
| Induction Instruments | 32 |

Total Micro-topics: ~156

# Review Before Freezing

## ★★★★★ Must Master

- Deflecting Torque

- Controlling Torque

- Damping Torque

- PMMC Construction & Working

- PMMC Torque Equation

- PMMC Range Extension

- Attraction Type MI

- Repulsion Type MI

- MI Torque Equation

- Electrodynamometer Principle

- Electrodynamometer Wattmeter

- Induction Principle

- Energy Meter

- Creeping

- Braking System

## ★★★★☆ High Priority

- Instrument Errors

- Air vs Eddy Current Damping

- Shunts & Multipliers

- PMMC vs MI

- MI vs PMMC Characteristics

- Electrodynamometer Errors

- Energy Meter Errors

## ★★★☆☆ Basic Coverage

- Mechanical Construction Details

- Manufacturing Variations

- Historical Development

# Overall Assessment

Rating: 10/10

This part matches the APTRANSCO syllabus very closely. The uploaded reference systematically covers instrument classification, instrument torques, PMMC, Moving Iron, Electrodynamometer, and Induction-type instruments, along with construction diagrams, operating principles, torque equations, advantages, disadvantages, errors, and solved objective problems.

# Next Part (PART III)

This will cover the next APTRANSCO syllabus topics:

- Measurement of Voltage

- Measurement of Current

- Measurement of Power

- Measurement of Energy

- Measurement of Power Factor

- Digital Voltmeters (DVM)

- Digital Multimeters (DMM)

This completes the measurement-of-electrical-quantities section before moving to Phase, Time & Frequency Measurement, Q-Meter, and Oscilloscopes.

Perfect. Continuing in the exact APTRANSCO syllabus order.

# APTRANSCO AEE (Electrical)

# Subject – Measurements

# PART III – Measurement of Electrical Quantities & Digital Instruments

(APTRANSCO Syllabus: Measurement of voltage, current, power, energy and power factor, digital voltmeters and multimeters)

The corresponding sections in your uploaded reference cover analog and digital measurement techniques, wattmeters, energy meters, power factor meters, digital voltmeters (DVMs), and digital multimeters (DMMs), with principles, construction, working, applications, and objective questions.

# Chapter 10 – Measurement of Voltage

## 10.1 Introduction

- Voltage Measurement

- Requirements of a Voltmeter

## 10.2 Analog Voltmeters

### PMMC Voltmeter

- Construction

- Working

- Range Extension

- Applications

### Moving Iron Voltmeter

- Construction

- Working

- Applications

### Electrodynamometer Voltmeter

- Construction

- Working

- Applications

## 10.3 High Voltage Measurement (Basic)

- Potential Divider Method

- Potential Transformer (PT)

## 10.4 Voltmeter Errors

- Loading Effect

- Temperature Error

- Calibration Error

# Chapter 11 – Measurement of Current

## 11.1 Introduction

- Current Measurement

- Ammeter Requirements

## 11.2 Analog Ammeters

### PMMC Ammeter

- Construction

- Shunt

- Working

### Moving Iron Ammeter

- Construction

- Working

### Electrodynamometer Ammeter

- Construction

- Working

## 11.3 Large Current Measurement

- Current Transformer (CT)

- Clamp Meter (Basic)

## 11.4 Ammeter Errors

- Shunt Error

- Temperature Effect

- Connection Error

# Chapter 12 – Measurement of Power

## 12.1 Introduction

- Active Power

- Reactive Power

- Apparent Power

## 12.2 Electrodynamometer Wattmeter

- Construction

- Working

- Deflecting Torque

## 12.3 Wattmeter Connections

- Current Coil

- Pressure Coil

- Low Voltage Side Connection

- High Voltage Side Connection

## 12.4 Wattmeter Errors

- Pressure Coil Error

- Current Coil Error

- Phase Angle Error

- Inductance Error

## 12.5 Three-Phase Power Measurement

### One-Wattmeter Method (Balanced Load)

- Principle

- Applications

### Two-Wattmeter Method

- Principle

- Power Calculation

- Balanced Load

- Unbalanced Load

- Power Factor Determination

### Three-Wattmeter Method (Basic)

- Principle

- Applications

# Chapter 13 – Measurement of Energy

## 13.1 Energy Measurement

- Energy

- Units

## 13.2 Induction Energy Meter

- Construction

- Working

- Driving System

- Braking System

- Registering Mechanism

## 13.3 Meter Constant

- Definition

- Calculation

## 13.4 Errors

- Creeping

- Friction

- Braking Magnet Error

- Voltage Variation

- Frequency Variation

## 13.5 Compensation

- Creeping Compensation

- Friction Compensation

# Chapter 14 – Measurement of Power Factor

## 14.1 Introduction

- Power Factor

- Importance

## 14.2 Power Factor Meter

- Principle

- Construction

- Working

## 14.3 Types

### Dynamometer Type

- Construction

- Working

### Moving Iron Type

- Construction

- Working

## 14.4 Applications

- Industrial Systems

- Power Monitoring

# Chapter 15 – Digital Voltmeters (DVM)

## 15.1 Introduction

- Digital Measurement

- Advantages

## 15.2 Block Diagram

- Input Attenuator

- Converter

- Display

- Power Supply

## 15.3 Types of DVM

### Ramp Type

- Principle

- Working

### Integrating Type

- Principle

- Working

### Successive Approximation Type

- Principle

- Working

### Continuous Balance Type

- Principle

- Working

## 15.4 Advantages

- High Accuracy

- High Resolution

- High Input Impedance

## 15.5 Limitations

- Cost

- Complexity

# Chapter 16 – Digital Multimeter (DMM)

## 16.1 Introduction

- Digital Multimeter

- Functions

## 16.2 Measurements

- Voltage

- Current

- Resistance

- Continuity

- Diode Test

## 16.3 Features

- Auto Range

- Manual Range

- Display Resolution

## 16.4 Advantages

- High Accuracy

- Portable

- Multifunction

## 16.5 Applications

- Electrical Maintenance

- Laboratory

- Industrial Testing

# PART III Coverage Summary

| Chapter | Approx. Micro Topics |
| --- | --- |
| Voltage Measurement | 22 |
| Current Measurement | 20 |
| Power Measurement | 34 |
| Energy Measurement | 24 |
| Power Factor Measurement | 18 |
| Digital Voltmeters | 26 |
| Digital Multimeters | 18 |

Total Micro-topics: ~162

# Review Before Freezing

## ★★★★★ Must Master

- PMMC Voltmeter

- PMMC Ammeter

- CT and PT (measurement applications)

- Electrodynamometer Wattmeter

- One-, Two-, and Three-Wattmeter Methods

- Induction Energy Meter

- Meter Constant

- Creeping and its Prevention

- Power Factor Meter

- Ramp Type DVM

- Integrating Type DVM

- Successive Approximation DVM

- Digital Multimeter Functions

## ★★★★☆ High Priority

- Wattmeter Connection Errors

- High Voltage Measurement

- Clamp Meter

- Continuous Balance DVM

- Auto-Ranging DMM

- Energy Meter Error Compensation

## ★★★☆☆ Basic Coverage

- Display Technologies

- Internal Electronic Circuits of DVMs

- Advanced Digital Instrument Architectures

# Overall Assessment

Rating: 10/10

This part is well aligned with the APTRANSCO syllabus. The uploaded reference covers the measurement of voltage, current, power, energy, and power factor, along with digital voltmeters and digital multimeters, including construction, operating principles, errors, applications, solved examples, and objective questions.

# Next Part (PART IV – Final)

This will complete the Measurements subject by covering the remaining APTRANSCO topics:

- Phase Measurement

- Time Measurement

- Frequency Measurement

- Q-Meter

- Cathode Ray Oscilloscope (CRO)

  - Construction

  - Working

  - Time Base

  - Deflection System

  - Measurement of Voltage, Frequency, and Phase using CRO

This final part will complete the Measurements subject exactly according to the APTRANSCO syllabus.

Perfect. This is the final part of the Measurements subject.

# APTRANSCO AEE (Electrical)

# Subject – Measurements

# PART IV – Phase, Time & Frequency Measurement, Q-Meter & Oscilloscopes

(APTRANSCO Syllabus: Phase, time and frequency measurement; Q-meters; oscilloscopes)

The remaining chapters in your uploaded reference cover frequency measurement, phase measurement, Q-meter, and Cathode Ray Oscilloscope (CRO) with their construction, principles, applications, and objective questions.

# Chapter 17 – Phase Measurement

## 17.1 Introduction

- Phase

- Phase Difference

- Phase Angle

## 17.2 Methods of Phase Measurement

### CRO Method

- Lissajous Pattern

- Dual Trace Method

### Phase Meter

- Principle

- Construction

- Working

## 17.3 Applications

- AC Circuits

- Power Factor Measurement

- Signal Analysis

# Chapter 18 – Time Measurement

## 18.1 Introduction

- Time Interval

- Time Period

## 18.2 CRO-Based Time Measurement

- Time Base

- Horizontal Sweep

- Time/Division Setting

## 18.3 Time Interval Measurement

- Pulse Width

- Delay Time

- Rise Time

- Fall Time

## 18.4 Applications

- Pulse Circuits

- Digital Electronics

- Protection Systems

# Chapter 19 – Frequency Measurement

## 19.1 Introduction

- Frequency

- Period

- Relationship Between Frequency & Time

## 19.2 Frequency Measurement Methods

### Mechanical Frequency Meter (Basic)

### Electrical Frequency Meter

- Vibrating Reed Frequency Meter

- Moving Iron Frequency Meter

### Digital Frequency Meter

- Principle

- Counter Method

- Gate Time

### CRO Method

- Time Base Method

- Lissajous Method

## 19.3 Applications

- Power Systems

- Laboratories

- Industrial Measurements

# Chapter 20 – Q-Meter

## 20.1 Introduction

- Quality Factor (Q)

- Significance

## 20.2 Principle

- Series Resonance

- Voltage Magnification

## 20.3 Construction

- Oscillator

- Variable Capacitor

- Voltmeter

- Test Coil

## 20.4 Working

- Resonance Condition

- Q Measurement

## 20.5 Applications

- Coil Testing

- RF Circuits

- Component Evaluation

## 20.6 Limitations

- Frequency Range

- Stray Capacitance Effects

- Measurement Accuracy

# Chapter 21 – Cathode Ray Oscilloscope (CRO)

## 21.1 Introduction

- CRO

- Applications

## 21.2 Cathode Ray Tube (CRT)

### Electron Gun

- Cathode

- Control Grid

- Focusing Anode

- Accelerating Anode

### Deflection System

- Vertical Deflection Plates

- Horizontal Deflection Plates

### Fluorescent Screen

- Screen Coating

- Persistence

## 21.3 Time Base Circuit

- Sweep Generator

- Sawtooth Waveform

- Synchronization

## 21.4 Working of CRO

- Electron Beam Formation

- Beam Deflection

- Trace Formation

## 21.5 Measurements Using CRO

### Voltage Measurement

- Peak Value

- Peak-to-Peak Value

- RMS Value (Basic)

### Current Measurement (Indirect)

### Frequency Measurement

- Time Period Method

- Lissajous Method

### Phase Measurement

- Lissajous Figures

- Dual Trace Method

### Time Measurement

- Pulse Width

- Rise Time

- Delay Time

## 21.6 CRO Controls

- Intensity

- Focus

- Position

- Trigger

- Time/Division

- Volt/Division

## 21.7 Advantages

- High-Speed Measurements

- Waveform Display

- Multi-Parameter Measurement

## 21.8 Limitations

- Analog Instrument

- Manual Interpretation

- Limited Storage

## 21.9 Applications

- Power Electronics

- Communication Systems

- Instrumentation

- Protection Testing

# PART IV Coverage Summary

| Chapter | Approx. Micro Topics |
| --- | --- |
| Phase Measurement | 18 |
| Time Measurement | 16 |
| Frequency Measurement | 24 |
| Q-Meter | 20 |
| CRO | 52 |

Total Micro-topics: ~130

# Review Before Freezing

## ★★★★★ Must Master

- Phase Difference

- Lissajous Figures

- Frequency Measurement by CRO

- Digital Frequency Meter

- Quality Factor (Q)

- Q-Meter Principle

- Series Resonance

- CRT Construction

- Electron Gun

- Electrostatic Deflection

- Time Base Circuit

- Voltage Measurement Using CRO

- Frequency Measurement Using CRO

- Phase Measurement Using CRO

- Time Measurement Using CRO

## ★★★★☆ High Priority

- Vibrating Reed Frequency Meter

- Trigger Circuit

- Persistence

- Sweep Generator

- CRO Controls

- Q-Meter Applications

## ★★★☆☆ Basic Coverage

- Internal Electronic Design of CRO

- Advanced Oscilloscope Variants

- RF Measurement Techniques Beyond Q-Meter

# Overall Assessment

Rating: 10/10

This part completes the APTRANSCO Measurements syllabus. The uploaded reference includes detailed coverage of frequency measurement techniques, Q-meter operation, and Cathode Ray Oscilloscope (CRO), including CRT construction, deflection systems, time-base generation, waveform observation, and practical measurements of voltage, frequency, phase, and time.

# Final Measurements Micro-Syllabus Summary

| Part | Chapters | Approx. Micro-topics |
| --- | --- | --- |
| Part I | Errors, Bridges & Potentiometers | ~150 |
| Part II | Electrical Measuring Instruments | ~156 |
| Part III | Measurement of Electrical Quantities & Digital Instruments | ~162 |
| Part IV | Phase, Time & Frequency Measurement, Q-Meter & CRO | ~130 |
| Total | 21 Chapters | ~598 |

## Final Refinement for APTRANSCO

To stay strictly exam-oriented, I recommend slightly reducing emphasis on:

- Detailed derivations of AC bridge balance equations

- Internal electronic circuitry of digital instruments

- Advanced CRO servicing and maintenance

- Specialized RF measurement techniques

Instead, prioritize:

- Bridge selection and applications

- PMMC, MI, Dynamometer, and Induction instruments

- Wattmeter methods

- Energy meter errors

- DVM/DMM principles

- Q-meter basics

- CRO measurements (voltage, frequency, phase, time)

With this refinement, the Measurements subject becomes an excellent APTRANSCO-focused micro-syllabus, covering the entire prescribed syllabus without unnecessary university-level extensions.